## 87
Oromia International Bank H.Q. Building Construction Project
Division No | Item | Description |  | Unit | Total Qty | Rate in CNY | Amount in CNY
| 9 | Fire Water Storage Tank Plumbing Accessories ( For civil work, refer to civil work boq) | 消防水箱管道配件（土建工程请参见土建工程招标书）
|  | Supply,install,test & commission dia.65 over flow pipes ,dia.200 suction pipes , 2inch float valves , level indicators ,21/2inch drain valve with gate valve & manhole and all other accessories required as shown on the fire water storage tanks drawings and technical specification & manufacturere's recommendation. (For two tanks) | 供应、安装、测试和调试直径 65 的溢流管道、直径 200 的吸水管道、2 英寸浮球阀、水位指示器、带闸阀的 21/2 英寸排水阀和检查孔，以及消防储水箱图纸、技术规范和制造商建议中所示的所有其他配件。(两个水箱） | Set | 1