## 27 Communication
Description | Unit | Total | Amount
Telephone Set |  |  | 0
Telephone System- points/Outlets- inside PVC pipe size of 32mm diameter from riser point to junction box, and PVC pipe size of 25mm diameter from junction box to every individual telephone point. |  |  | 0
A) Telephone points fed through twisted U/ UTP2pairs cable inside PVC conduit of 25mm diameter with Telephone U/ UTP 4core structure (UTP 2 x 0.5mmm bare copperconductor). | No | 46 | 0
0
B) Telephone outlets type RJ-11(Legrand Suno or equivalent) | No | 46 | 0
0
Master Antenna Television System |  |  | 0
0
SMATV SYSTEM- installation includes and not limited to cable pulling, wall outlet termination, fixing of taps, splitters, and amplifier,testing of each node for loss, amplifier fixing, dish and recievers, channel testing, using RF professional toolkit, encoder configuration, satellite dish installation, testing the whole system at each room point, providing documentation and test result data | LS | 4 | 0
SMATV outlet point fed through PVC insulated RG6/U coaxial cable (cable specified sparetly elsewhere) in conduit of f 19mm including junction boxes with covers for flush mounting. | NO | 4 | 0
RG 6/U satellite coaxial 75ohm cable, Bare Copper(BC) conductor -1.02mm solid , Physical Foam(PF) dielectric4.8mm diameter, PVC jacket-7.0mm diameter, with aluminium foil shield, RG series satellite cables 75ohm, | M | 150 | 0
TV coaxial socket outlet type LEGRAND Vela 6827 81 or equivalent having category 6 with 4 contacts complete with clip on support frame. | NO | 4 | 0
Dish to comply with ETSI 300784 | NO | 1 | 0
LNB (Quattro type) | NO | 1 | 0
multi switch | NO | 1 | 0
Distribution amplifier | NO | 1 | 0
Distribution taps | NO | 1 | 0
Distribution splitters | NO | 1 | 0
0